## Sequence
230207_Solvent | 1 | 230207\SST\230207-001 | Solvent | 0 | NOTE: Template is not protected. Try not to click + drag any cells. Only edit non-grey cells. Backup file is in LH's folder. Plate map on second sheet. STEP 1: Right click and PASTE VALUES ONLY in the columns to the right. Sequence in column A will automatically populate. STEP 2: Enter concentrations next to each Cal/QC. This will generate concentrations in column E for the quantitation tab. STEP 3: Enter the date for the data file path in the blue cell to the right, under Cal/QC IDs. Dates for file names and Cal/QCs will autofill. STEP 4: Check sequence and edit as necessary. Do not save over the template. STEP5: CTRL+C then CTRL+V into Analyst or Paste as Values in another sheet to rearrange. | PASTE CAL AND QC IDs HERE (VALUE ONLY) | Inj | CONCENTRATIONS
230207_Cal 1 Inj 1 | 4 | 230207\SST\230207-002 | Unknown | 0 |  | 230207_Solvent | 1 | 0
230207_Cal 1 Inj 2 | 4 | 230207\SST\230207-003 | Unknown | 0 |  | 230207_DBlank | 2 | 0
230207_Cal 7 Inj 1 | 10 | 230207\SST\230207-004 | Unknown | 0 |  | 230207_Blank | 1 | 0
230207_Cal 7 Inj 2 | 10 | 230207\SST\230207-005 | Unknown | 0 |  | 230207_Cal 1 | 2 | 1
230207_Cal 7 Inj 3 | 10 | 230207\SST\230207-006 | Unknown | 0 |  | 230207_Cal 2 | 3 | 2
230207_Cal 7 Inj 4 | 10 | 230207\SST\230207-007 | Unknown | 0 |  | 230207_Cal 3 | 4 | 5
230207_Cal 7 Inj 5 | 10 | 230207\SST\230207-008 | Unknown | 0 |  | 230207_Cal 4 | 5 | 10
230207_Cal 7 Inj 6 | 10 | 230207\SST\230207-009 | Unknown | 0 |  | 230207_Cal 5 | 6 | 50
230207_Solvent | 1 | 230207\SST\230207-010 | Solvent | 0 |  | 230207_Cal 6 |  | 100
230207_Solvent | 12 | 230207\Samples\230207-001 | Solvent | 0 |  | 230207_Cal 7 |  | 500
230207_DBlank | 2 | 230207\Samples\230207-002 | Double Blank | 0 |  | 230207_Cal 8 |  | 1000
230207_Blank | 3 | 230207\Samples\230207-003 | Blank | 0 |  | 230207_QCL R1 | QCL: | 3
230207_Cal 1 | 4 | 230207\Samples\230207-004 | Standard | 1 |  | 230207_QCL R2 | QCM: | 400
230207_Cal 2 | 5 | 230207\Samples\230207-005 | Standard | 2 |  | 230207_QCL R3 | QCH: | 800
230207_Cal 3 | 6 | 230207\Samples\230207-006 | Standard | 5 |  | 230207_QCL R4
230207_Cal 4 | 7 | 230207\Samples\230207-007 | Standard | 10 |  | 230207_QCM R1
230207_Cal 5 | 8 | 230207\Samples\230207-008 | Standard | 50 |  | 230207_QCM R2
230207_Cal 6 | 9 | 230207\Samples\230207-009 | Standard | 100 |  | 230207_QCM R3
230207_Cal 7 | 10 | 230207\Samples\230207-010 | Standard | 500 |  | 230207_QCM R4
230207_Cal 8 | 11 | 230207\Samples\230207-011 | Standard | 1000 |  | 230207_QCH R1
230207_Solvent | 12 | 230207\Samples\230207-012 | Solvent | 0 |  | 230207_QCH R2
230207_QCL R1 | 13 | 230207\Samples\230207-013 | QC | 3 |  | 230207_QCH R3
0 | 19 | 230207\Samples\230207-014 | Unknown | 0 |  | 230207_QCH R4
0 | 20 | 230207\Samples\230207-015 | Unknown | 0
0 | 21 | 230207\Samples\230207-016 | Unknown | 0 |  | 230207
0 | 22 | 230207\Samples\230207-017 | Unknown | 0 |  | test\230207\230207-001
0 | 23 | 230207\Samples\230207-018 | Unknown | 0
0 | 24 | 230207\Samples\230207-019 | Unknown | 0 |  | PASTE 168 SAMPLE IDs HERE (VALUE ONLY) | Well # |  | Sample #
0 | 25 | 230207\Samples\230207-020 | Unknown | 0 |  |  | 19 | Plate 1 | 1
0 | 26 | 230207\Samples\230207-021 | Unknown | 0 |  |  | 20 |  | 2
0 | 27 | 230207\Samples\230207-022 | Unknown | 0 |  |  | 21 |  | 3
0 | 28 | 230207\Samples\230207-023 | Unknown | 0 |  |  | 22 |  | 4
0 | 29 | 230207\Samples\230207-024 | Unknown | 0 |  |  | 23 |  | 5
0 | 30 | 230207\Samples\230207-025 | Unknown | 0 |  |  | 24 |  | 6
0 | 31 | 230207\Samples\230207-026 | Unknown | 0 |  |  | 25 |  | 7
0 | 32 | 230207\Samples\230207-027 | Unknown | 0 |  |  | 26 |  | 8
0 | 33 | 230207\Samples\230207-028 | Unknown | 0 |  |  | 27 |  | 9
230207_QCM R1 | 15 | 230207\Samples\230207-029 | QC | 400 |  |  | 28 |  | 10
0 | 34 | 230207\Samples\230207-030 | Unknown | 0 |  |  | 29 |  | 11
0 | 35 | 230207\Samples\230207-031 | Unknown | 0 |  |  | 30 |  | 12
0 | 36 | 230207\Samples\230207-032 | Unknown | 0 |  |  | 31 |  | 13
0 | 37 | 230207\Samples\230207-033 | Unknown | 0 |  |  | 32 |  | 14
0 | 38 | 230207\Samples\230207-034 | Unknown | 0 |  |  | 33 |  | 15
0 | 39 | 230207\Samples\230207-035 | Unknown | 0 |  |  | 34 |  | 16
0 | 40 | 230207\Samples\230207-036 | Unknown | 0 |  |  | 35 |  | 17
0 | 41 | 230207\Samples\230207-037 | Unknown | 0 |  |  | 36 |  | 18
0 | 42 | 230207\Samples\230207-038 | Unknown | 0 |  |  | 37 |  | 19
0 | 43 | 230207\Samples\230207-039 | Unknown | 0 |  |  | 38 |  | 20
0 | 44 | 230207\Samples\230207-040 | Unknown | 0 |  |  | 39 |  | 21
0 | 45 | 230207\Samples\230207-041 | Unknown | 0 |  |  | 40 |  | 22
0 | 46 | 230207\Samples\230207-042 | Unknown | 0 |  |  | 41 |  | 23
0 | 47 | 230207\Samples\230207-043 | Unknown | 0 |  |  | 42 |  | 24
0 | 48 | 230207\Samples\230207-044 | Unknown | 0 |  |  | 43 |  | 25
230207_QCH R1 | 17 | 230207\Samples\230207-045 | QC | 800 |  |  | 44 |  | 26
0 | 49 | 230207\Samples\230207-046 | Unknown | 0 |  |  | 45 |  | 27
0 | 50 | 230207\Samples\230207-047 | Unknown | 0 |  |  | 46 |  | 28
0 | 51 | 230207\Samples\230207-048 | Unknown | 0 |  |  | 47 |  | 29
0 | 52 | 230207\Samples\230207-049 | Unknown | 0 |  |  | 48 |  | 30
0 | 53 | 230207\Samples\230207-050 | Unknown | 0 |  |  | 49 |  | 31
0 | 54 | 230207\Samples\230207-051 | Unknown | 0 |  |  | 50 |  | 32
0 | 55 | 230207\Samples\230207-052 | Unknown | 0 |  |  | 51 |  | 33
0 | 56 | 230207\Samples\230207-053 | Unknown | 0 |  |  | 52 |  | 34
0 | 57 | 230207\Samples\230207-054 | Unknown | 0 |  |  | 53 |  | 35
0 | 58 | 230207\Samples\230207-055 | Unknown | 0 |  |  | 54 |  | 36
0 | 59 | 230207\Samples\230207-056 | Unknown | 0 |  |  | 55 |  | 37
0 | 60 | 230207\Samples\230207-057 | Unknown | 0 |  |  | 56 |  | 38
0 | 61 | 230207\Samples\230207-058 | Unknown | 0 |  |  | 57 |  | 39
230207_QCL R2 | 14 | 230207\Samples\230207-059 | QC | 3 |  |  | 58 |  | 40
0 | 62 | 230207\Samples\230207-060 | Unknown | 0 |  |  | 59 |  | 41
0 | 63 | 230207\Samples\230207-061 | Unknown | 0 |  |  | 60 |  | 42
0 | 64 | 230207\Samples\230207-062 | Unknown | 0 |  |  | 61 |  | 43
0 | 65 | 230207\Samples\230207-063 | Unknown | 0 |  |  | 62 |  | 44
0 | 66 | 230207\Samples\230207-064 | Unknown | 0 |  |  | 63 |  | 45
0 | 67 | 230207\Samples\230207-065 | Unknown | 0 |  |  | 64 |  | 46
0 | 68 | 230207\Samples\230207-066 | Unknown | 0 |  |  | 65 |  | 47
0 | 69 | 230207\Samples\230207-067 | Unknown | 0 |  |  | 66 |  | 48
0 | 70 | 230207\Samples\230207-068 | Unknown | 0 |  |  | 67 |  | 49
0 | 71 | 230207\Samples\230207-069 | Unknown | 0 |  |  | 68 |  | 50
0 | 72 | 230207\Samples\230207-070 | Unknown | 0 |  |  | 69 |  | 51
0 | 73 | 230207\Samples\230207-071 | Unknown | 0 |  |  | 70 |  | 52
0 | 74 | 230207\Samples\230207-072 | Unknown | 0 |  |  | 71 |  | 53
0 | 75 | 230207\Samples\230207-073 | Unknown | 0 |  |  | 72 |  | 54
0 | 76 | 230207\Samples\230207-074 | Unknown | 0 |  |  | 73 |  | 55
0 | 77 | 230207\Samples\230207-075 | Unknown | 0 |  |  | 74 |  | 56
0 | 78 | 230207\Samples\230207-076 | Unknown | 0 |  |  | 75 |  | 57
230207_QCM R2 | 16 | 230207\Samples\230207-077 | QC | 400 |  |  | 76 |  | 58
0 | 79 | 230207\Samples\230207-078 | Unknown | 0 |  |  | 77 |  | 59
0 | 80 | 230207\Samples\230207-079 | Unknown | 0 |  |  | 78 |  | 60
0 | 81 | 230207\Samples\230207-080 | Unknown | 0 |  |  | 79 |  | 61
0 | 82 | 230207\Samples\230207-081 | Unknown | 0 |  |  | 80 |  | 62
0 | 83 | 230207\Samples\230207-082 | Unknown | 0 |  |  | 81 |  | 63
0 | 84 | 230207\Samples\230207-083 | Unknown | 0 |  |  | 82 |  | 64
0 | 85 | 230207\Samples\230207-084 | Unknown | 0 |  |  | 83 |  | 65
0 | 86 | 230207\Samples\230207-085 | Unknown | 0 |  |  | 84 |  | 66
0 | 87 | 230207\Samples\230207-086 | Unknown | 0 |  |  | 85 |  | 67
0 | 88 | 230207\Samples\230207-087 | Unknown | 0 |  |  | 86 |  | 68
0 | 89 | 230207\Samples\230207-088 | Unknown | 0 |  |  | 87 |  | 69
0 | 90 | 230207\Samples\230207-089 | Unknown | 0 |  |  | 88 |  | 70
0 | 91 | 230207\Samples\230207-090 | Unknown | 0 |  |  | 89 |  | 71
0 | 92 | 230207\Samples\230207-091 | Unknown | 0 |  |  | 90 |  | 72
0 | 93 | 230207\Samples\230207-092 | Unknown | 0 |  |  | 91 |  | 73
0 | 94 | 230207\Samples\230207-093 | Unknown | 0 |  |  | 92 |  | 74
0 | 95 | 230207\Samples\230207-094 | Unknown | 0 |  |  | 93 |  | 75
0 | 96 | 230207\Samples\230207-095 | Unknown | 0 |  |  | 94 |  | 76
230207_QCH R2 | 18 | 230207\Samples\230207-096 | QC | 800 |  |  | 95 |  | 77
230207_Solvent | 1 | 230207\Samples\230207-097 | Solvent | 0 |  |  | 96 |  | 78
230207_QCL R3 | 1 | 230207\Samples\230207-098 | QC | 3 |  |  | 7 | Plate 2 | 79
0 | 7 | 230207\Samples\230207-099 | Unknown | 0 |  |  | 8 |  | 80
0 | 8 | 230207\Samples\230207-100 | Unknown | 0 |  |  | 9 |  | 81
0 | 9 | 230207\Samples\230207-101 | Unknown | 0 |  |  | 10 |  | 82
0 | 10 | 230207\Samples\230207-102 | Unknown | 0 |  |  | 11 |  | 83
0 | 11 | 230207\Samples\230207-103 | Unknown | 0 |  |  | 12 |  | 84
0 | 12 | 230207\Samples\230207-104 | Unknown | 0 |  |  | 13 |  | 85
0 | 13 | 230207\Samples\230207-105 | Unknown | 0 |  |  | 14 |  | 86
0 | 14 | 230207\Samples\230207-106 | Unknown | 0 |  |  | 15 |  | 87
0 | 15 | 230207\Samples\230207-107 | Unknown | 0 |  |  | 16 |  | 88
0 | 16 | 230207\Samples\230207-108 | Unknown | 0 |  |  | 17 |  | 89
0 | 17 | 230207\Samples\230207-109 | Unknown | 0 |  |  | 18 |  | 90
0 | 18 | 230207\Samples\230207-110 | Unknown | 0 |  |  | 19 |  | 91
0 | 19 | 230207\Samples\230207-111 | Unknown | 0 |  |  | 20 |  | 92
0 | 20 | 230207\Samples\230207-112 | Unknown | 0 |  |  | 21 |  | 93
230207_QCM R3 | 3 | 230207\Samples\230207-113 | QC | 400 |  |  | 22 |  | 94
0 | 21 | 230207\Samples\230207-114 | Unknown | 0 |  |  | 23 |  | 95
0 | 22 | 230207\Samples\230207-115 | Unknown | 0 |  |  | 24 |  | 96
0 | 23 | 230207\Samples\230207-116 | Unknown | 0 |  |  | 25 |  | 97
0 | 24 | 230207\Samples\230207-117 | Unknown | 0 |  |  | 26 |  | 98
0 | 25 | 230207\Samples\230207-118 | Unknown | 0 |  |  | 27 |  | 99
0 | 26 | 230207\Samples\230207-119 | Unknown | 0 |  |  | 28 |  | 100
0 | 27 | 230207\Samples\230207-120 | Unknown | 0 |  |  | 29 |  | 101
0 | 28 | 230207\Samples\230207-121 | Unknown | 0 |  |  | 30 |  | 102
0 | 29 | 230207\Samples\230207-122 | Unknown | 0 |  |  | 31 |  | 103
0 | 30 | 230207\Samples\230207-123 | Unknown | 0 |  |  | 32 |  | 104
0 | 31 | 230207\Samples\230207-124 | Unknown | 0 |  |  | 33 |  | 105
0 | 32 | 230207\Samples\230207-125 | Unknown | 0 |  |  | 34 |  | 106
0 | 33 | 230207\Samples\230207-126 | Unknown | 0 |  |  | 35 |  | 107
0 | 34 | 230207\Samples\230207-127 | Unknown | 0 |  |  | 36 |  | 108
0 | 35 | 230207\Samples\230207-128 | Unknown | 0 |  |  | 37 |  | 109
0 | 36 | 230207\Samples\230207-129 | Unknown | 0 |  |  | 38 |  | 110
0 | 37 | 230207\Samples\230207-130 | Unknown | 0 |  |  | 39 |  | 111
0 | 38 | 230207\Samples\230207-131 | Unknown | 0 |  |  | 40 |  | 112
0 | 39 | 230207\Samples\230207-132 | Unknown | 0 |  |  | 41 |  | 113
230207_QCH R3 | 5 | 230207\Samples\230207-133 | QC | 800 |  |  | 42 |  | 114
0 | 40 | 230207\Samples\230207-134 | Unknown | 0 |  |  | 43 |  | 115
0 | 41 | 230207\Samples\230207-135 | Unknown | 0 |  |  | 44 |  | 116
0 | 42 | 230207\Samples\230207-136 | Unknown | 0 |  |  | 45 |  | 117
0 | 43 | 230207\Samples\230207-137 | Unknown | 0 |  |  | 46 |  | 118
0 | 44 | 230207\Samples\230207-138 | Unknown | 0 |  |  | 47 |  | 119
0 | 45 | 230207\Samples\230207-139 | Unknown | 0 |  |  | 48 |  | 120
0 | 46 | 230207\Samples\230207-140 | Unknown | 0 |  |  | 49 |  | 121
0 | 47 | 230207\Samples\230207-141 | Unknown | 0 |  |  | 50 |  | 122
0 | 48 | 230207\Samples\230207-142 | Unknown | 0 |  |  | 51 |  | 123
0 | 49 | 230207\Samples\230207-143 | Unknown | 0 |  |  | 52 |  | 124
0 | 50 | 230207\Samples\230207-144 | Unknown | 0 |  |  | 53 |  | 125
0 | 51 | 230207\Samples\230207-145 | Unknown | 0 |  |  | 54 |  | 126
0 | 52 | 230207\Samples\230207-146 | Unknown | 0 |  |  | 55 |  | 127
0 | 53 | 230207\Samples\230207-147 | Unknown | 0 |  |  | 56 |  | 128
0 | 54 | 230207\Samples\230207-148 | Unknown | 0 |  |  | 57 |  | 129
0 | 55 | 230207\Samples\230207-149 | Unknown | 0 |  |  | 58 |  | 130
0 | 56 | 230207\Samples\230207-150 | Unknown | 0 |  |  | 59 |  | 131
0 | 57 | 230207\Samples\230207-151 | Unknown | 0 |  |  | 60 |  | 132
230207_QCL R4 | 2 | 230207\Samples\230207-152 | QC | 3 |  |  | 61 |  | 133
0 | 58 | 230207\Samples\230207-153 | Unknown | 0 |  |  | 62 |  | 134
0 | 59 | 230207\Samples\230207-154 | Unknown | 0 |  |  | 63 |  | 135
0 | 60 | 230207\Samples\230207-155 | Unknown | 0 |  |  | 64 |  | 136
0 | 61 | 230207\Samples\230207-156 | Unknown | 0 |  |  | 65 |  | 137
0 | 62 | 230207\Samples\230207-157 | Unknown | 0 |  |  | 66 |  | 138
0 | 63 | 230207\Samples\230207-158 | Unknown | 0 |  |  | 67 |  | 139
0 | 64 | 230207\Samples\230207-159 | Unknown | 0 |  |  | 68 |  | 140
0 | 65 | 230207\Samples\230207-160 | Unknown | 0 |  |  | 69 |  | 141
0 | 66 | 230207\Samples\230207-161 | Unknown | 0 |  |  | 70 |  | 142
0 | 67 | 230207\Samples\230207-162 | Unknown | 0 |  |  | 71 |  | 143
0 | 68 | 230207\Samples\230207-163 | Unknown | 0 |  |  | 72 |  | 144
0 | 69 | 230207\Samples\230207-164 | Unknown | 0 |  |  | 73 |  | 145
0 | 70 | 230207\Samples\230207-165 | Unknown | 0 |  |  | 74 |  | 146
0 | 71 | 230207\Samples\230207-166 | Unknown | 0 |  |  | 75 |  | 147
0 | 72 | 230207\Samples\230207-167 | Unknown | 0 |  |  | 76 |  | 148
0 | 73 | 230207\Samples\230207-168 | Unknown | 0 |  |  | 77 |  | 149
0 | 74 | 230207\Samples\230207-169 | Unknown | 0 |  |  | 78 |  | 150
0 | 75 | 230207\Samples\230207-170 | Unknown | 0 |  |  | 79 |  | 151
0 | 76 | 230207\Samples\230207-171 | Unknown | 0 |  |  | 80 |  | 152
0 | 77 | 230207\Samples\230207-172 | Unknown | 0 |  |  | 81 |  | 153
230207_QCM R4 | 4 | 230207\Samples\230207-173 | QC | 400 |  |  | 82 |  | 154
0 | 78 | 230207\Samples\230207-174 | Unknown | 0 |  |  | 83 |  | 155
0 | 79 | 230207\Samples\230207-175 | Unknown | 0 |  |  | 84 |  | 156
0 | 80 | 230207\Samples\230207-176 | Unknown | 0 |  |  | 85 |  | 157
0 | 81 | 230207\Samples\230207-177 | Unknown | 0 |  |  | 86 |  | 158
0 | 82 | 230207\Samples\230207-178 | Unknown | 0 |  |  | 87 |  | 159
0 | 83 | 230207\Samples\230207-179 | Unknown | 0 |  |  | 88 |  | 160
0 | 84 | 230207\Samples\230207-180 | Unknown | 0 |  |  | 89 |  | 161
0 | 85 | 230207\Samples\230207-181 | Unknown | 0 |  |  | 90 |  | 162
0 | 86 | 230207\Samples\230207-182 | Unknown | 0 |  |  | 91 |  | 163
0 | 87 | 230207\Samples\230207-183 | Unknown | 0 |  |  | 92 |  | 164
0 | 88 | 230207\Samples\230207-184 | Unknown | 0 |  |  | 93 |  | 165
0 | 89 | 230207\Samples\230207-185 | Unknown | 0 |  |  | 94 |  | 166
0 | 90 | 230207\Samples\230207-186 | Unknown | 0 |  |  | 95 |  | 167
0 | 91 | 230207\Samples\230207-187 | Unknown | 0 |  |  | 96 |  | 168
0 | 92 | 230207\Samples\230207-188 | Unknown | 0
0 | 93 | 230207\Samples\230207-189 | Unknown | 0
0 | 94 | 230207\Samples\230207-190 | Unknown | 0
0 | 95 | 230207\Samples\230207-191 | Unknown | 0
0 | 96 | 230207\Samples\230207-192 | Unknown | 0
230207_QCH R4 | 6 | 230207\Samples\230207-193 | QC | 800
230207_Solvent | 1 | 230207\Samples\230207-194 | Solvent | 0

## Plate Map
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | A | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| 230207_Solvent | 230207_DBlank | 230207_Blank | 230207_Cal 1 | 230207_Cal 2 | 230207_Cal 3 | 230207_Cal 4 | 230207_Cal 5 | 230207_Cal 6 | 230207_Cal 7 | 230207_Cal 8 | 230207_Solvent |  | 230207_QCL R3 | 230207_QCL R4 | 230207_QCM R3 | 230207_QCM R4 | 230207_QCH R3 | 230207_QCH R4
B | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | B | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
| 230207_QCL R1 | 230207_QCL R2 | 230207_QCM R1 | 230207_QCM R2 | 230207_QCH R1 | 230207_QCH R2
C | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | C | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36
D | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | D | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48
E | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | E | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60
F | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72 | F | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72
G | 73 | 74 | 75 | 76 | 77 | 78 | 79 | 80 | 81 | 82 | 83 | 84 | G | 73 | 74 | 75 | 76 | 77 | 78 | 79 | 80 | 81 | 82 | 83 | 84
H | 85 | 86 | 87 | 88 | 89 | 90 | 91 | 92 | 93 | 94 | 95 | 96 | H | 85 | 86 | 87 | 88 | 89 | 90 | 91 | 92 | 93 | 94 | 95 | 96
RIGHT CLICK AND VALUES ONLY INTO YOUR PSM FORM! If you try to paste as normal, your form will reference an incorrect value when someone saves over this template with new information

## Sheet1
$I$26&"\Samples\"&$I$26&"-001 | =$I$26&"\Samples\"&$I$26&"-001"
$I$26&"\Samples\"&$I$26&"-002 | =$I$26&"\Samples\"&$I$26&"-002"
$I$26&"\Samples\"&$I$26&"-003 | =$I$26&"\Samples\"&$I$26&"-003"
$I$26&"\Samples\"&$I$26&"-004 | =$I$26&"\Samples\"&$I$26&"-004"
$I$26&"\Samples\"&$I$26&"-005 | =$I$26&"\Samples\"&$I$26&"-005"
$I$26&"\Samples\"&$I$26&"-006 | =$I$26&"\Samples\"&$I$26&"-006"
$I$26&"\Samples\"&$I$26&"-007 | =$I$26&"\Samples\"&$I$26&"-007"
$I$26&"\Samples\"&$I$26&"-008 | =$I$26&"\Samples\"&$I$26&"-008"
$I$26&"\Samples\"&$I$26&"-009 | =$I$26&"\Samples\"&$I$26&"-009"
$I$26&"\Samples\"&$I$26&"-010 | =$I$26&"\Samples\"&$I$26&"-010"
$I$26&"\Samples\"&$I$26&"-011 | =$I$26&"\Samples\"&$I$26&"-011"
$I$26&"\Samples\"&$I$26&"-012 | =$I$26&"\Samples\"&$I$26&"-012"
$I$26&"\Samples\"&$I$26&"-013 | =$I$26&"\Samples\"&$I$26&"-013"
$I$26&"\Samples\"&$I$26&"-014 | =$I$26&"\Samples\"&$I$26&"-014"
$I$26&"\Samples\"&$I$26&"-015 | =$I$26&"\Samples\"&$I$26&"-015"
$I$26&"\Samples\"&$I$26&"-016 | =$I$26&"\Samples\"&$I$26&"-016"
$I$26&"\Samples\"&$I$26&"-017 | =$I$26&"\Samples\"&$I$26&"-017"
$I$26&"\Samples\"&$I$26&"-018 | =$I$26&"\Samples\"&$I$26&"-018"
$I$26&"\Samples\"&$I$26&"-019 | =$I$26&"\Samples\"&$I$26&"-019"
$I$26&"\Samples\"&$I$26&"-020 | =$I$26&"\Samples\"&$I$26&"-020"
$I$26&"\Samples\"&$I$26&"-021 | =$I$26&"\Samples\"&$I$26&"-021"
$I$26&"\Samples\"&$I$26&"-022 | =$I$26&"\Samples\"&$I$26&"-022"
$I$26&"\Samples\"&$I$26&"-023 | =$I$26&"\Samples\"&$I$26&"-023"
$I$26&"\Samples\"&$I$26&"-024 | =$I$26&"\Samples\"&$I$26&"-024"
$I$26&"\Samples\"&$I$26&"-025 | =$I$26&"\Samples\"&$I$26&"-025"
$I$26&"\Samples\"&$I$26&"-026 | =$I$26&"\Samples\"&$I$26&"-026"
$I$26&"\Samples\"&$I$26&"-027 | =$I$26&"\Samples\"&$I$26&"-027"
$I$26&"\Samples\"&$I$26&"-028 | =$I$26&"\Samples\"&$I$26&"-028"
$I$26&"\Samples\"&$I$26&"-029 | =$I$26&"\Samples\"&$I$26&"-029"
$I$26&"\Samples\"&$I$26&"-030 | =$I$26&"\Samples\"&$I$26&"-030"
$I$26&"\Samples\"&$I$26&"-031 | =$I$26&"\Samples\"&$I$26&"-031"
$I$26&"\Samples\"&$I$26&"-032 | =$I$26&"\Samples\"&$I$26&"-032"
$I$26&"\Samples\"&$I$26&"-033 | =$I$26&"\Samples\"&$I$26&"-033"
$I$26&"\Samples\"&$I$26&"-034 | =$I$26&"\Samples\"&$I$26&"-034"
$I$26&"\Samples\"&$I$26&"-035 | =$I$26&"\Samples\"&$I$26&"-035"
$I$26&"\Samples\"&$I$26&"-036 | =$I$26&"\Samples\"&$I$26&"-036"
$I$26&"\Samples\"&$I$26&"-037 | =$I$26&"\Samples\"&$I$26&"-037"
$I$26&"\Samples\"&$I$26&"-038 | =$I$26&"\Samples\"&$I$26&"-038"
$I$26&"\Samples\"&$I$26&"-039 | =$I$26&"\Samples\"&$I$26&"-039"
$I$26&"\Samples\"&$I$26&"-040 | =$I$26&"\Samples\"&$I$26&"-040"
$I$26&"\Samples\"&$I$26&"-041 | =$I$26&"\Samples\"&$I$26&"-041"
$I$26&"\Samples\"&$I$26&"-042 | =$I$26&"\Samples\"&$I$26&"-042"
$I$26&"\Samples\"&$I$26&"-043 | =$I$26&"\Samples\"&$I$26&"-043"
$I$26&"\Samples\"&$I$26&"-044 | =$I$26&"\Samples\"&$I$26&"-044"
$I$26&"\Samples\"&$I$26&"-045 | =$I$26&"\Samples\"&$I$26&"-045"
$I$26&"\Samples\"&$I$26&"-046 | =$I$26&"\Samples\"&$I$26&"-046"
$I$26&"\Samples\"&$I$26&"-047 | =$I$26&"\Samples\"&$I$26&"-047"
$I$26&"\Samples\"&$I$26&"-048 | =$I$26&"\Samples\"&$I$26&"-048"
$I$26&"\Samples\"&$I$26&"-049 | =$I$26&"\Samples\"&$I$26&"-049"
$I$26&"\Samples\"&$I$26&"-050 | =$I$26&"\Samples\"&$I$26&"-050"
$I$26&"\Samples\"&$I$26&"-051 | =$I$26&"\Samples\"&$I$26&"-051"
$I$26&"\Samples\"&$I$26&"-052 | =$I$26&"\Samples\"&$I$26&"-052"
$I$26&"\Samples\"&$I$26&"-053 | =$I$26&"\Samples\"&$I$26&"-053"
$I$26&"\Samples\"&$I$26&"-054 | =$I$26&"\Samples\"&$I$26&"-054"
$I$26&"\Samples\"&$I$26&"-055 | =$I$26&"\Samples\"&$I$26&"-055"
$I$26&"\Samples\"&$I$26&"-056 | =$I$26&"\Samples\"&$I$26&"-056"
$I$26&"\Samples\"&$I$26&"-057 | =$I$26&"\Samples\"&$I$26&"-057"
$I$26&"\Samples\"&$I$26&"-058 | =$I$26&"\Samples\"&$I$26&"-058"
$I$26&"\Samples\"&$I$26&"-059 | =$I$26&"\Samples\"&$I$26&"-059"
$I$26&"\Samples\"&$I$26&"-060 | =$I$26&"\Samples\"&$I$26&"-060"
$I$26&"\Samples\"&$I$26&"-061 | =$I$26&"\Samples\"&$I$26&"-061"
$I$26&"\Samples\"&$I$26&"-062 | =$I$26&"\Samples\"&$I$26&"-062"
$I$26&"\Samples\"&$I$26&"-063 | =$I$26&"\Samples\"&$I$26&"-063"
$I$26&"\Samples\"&$I$26&"-064 | =$I$26&"\Samples\"&$I$26&"-064"
$I$26&"\Samples\"&$I$26&"-065 | =$I$26&"\Samples\"&$I$26&"-065"
$I$26&"\Samples\"&$I$26&"-066 | =$I$26&"\Samples\"&$I$26&"-066"
$I$26&"\Samples\"&$I$26&"-067 | =$I$26&"\Samples\"&$I$26&"-067"
$I$26&"\Samples\"&$I$26&"-068 | =$I$26&"\Samples\"&$I$26&"-068"
$I$26&"\Samples\"&$I$26&"-069 | =$I$26&"\Samples\"&$I$26&"-069"
$I$26&"\Samples\"&$I$26&"-070 | =$I$26&"\Samples\"&$I$26&"-070"
$I$26&"\Samples\"&$I$26&"-071 | =$I$26&"\Samples\"&$I$26&"-071"
$I$26&"\Samples\"&$I$26&"-072 | =$I$26&"\Samples\"&$I$26&"-072"
$I$26&"\Samples\"&$I$26&"-073 | =$I$26&"\Samples\"&$I$26&"-073"
$I$26&"\Samples\"&$I$26&"-074 | =$I$26&"\Samples\"&$I$26&"-074"
$I$26&"\Samples\"&$I$26&"-075 | =$I$26&"\Samples\"&$I$26&"-075"
$I$26&"\Samples\"&$I$26&"-076 | =$I$26&"\Samples\"&$I$26&"-076"
$I$26&"\Samples\"&$I$26&"-077 | =$I$26&"\Samples\"&$I$26&"-077"
$I$26&"\Samples\"&$I$26&"-078 | =$I$26&"\Samples\"&$I$26&"-078"
$I$26&"\Samples\"&$I$26&"-079 | =$I$26&"\Samples\"&$I$26&"-079"
$I$26&"\Samples\"&$I$26&"-080 | =$I$26&"\Samples\"&$I$26&"-080"
$I$26&"\Samples\"&$I$26&"-081 | =$I$26&"\Samples\"&$I$26&"-081"
$I$26&"\Samples\"&$I$26&"-082 | =$I$26&"\Samples\"&$I$26&"-082"
$I$26&"\Samples\"&$I$26&"-083 | =$I$26&"\Samples\"&$I$26&"-083"
$I$26&"\Samples\"&$I$26&"-084 | =$I$26&"\Samples\"&$I$26&"-084"
$I$26&"\Samples\"&$I$26&"-085 | =$I$26&"\Samples\"&$I$26&"-085"
$I$26&"\Samples\"&$I$26&"-086 | =$I$26&"\Samples\"&$I$26&"-086"
$I$26&"\Samples\"&$I$26&"-087 | =$I$26&"\Samples\"&$I$26&"-087"
$I$26&"\Samples\"&$I$26&"-088 | =$I$26&"\Samples\"&$I$26&"-088"
$I$26&"\Samples\"&$I$26&"-089 | =$I$26&"\Samples\"&$I$26&"-089"
$I$26&"\Samples\"&$I$26&"-090 | =$I$26&"\Samples\"&$I$26&"-090"
$I$26&"\Samples\"&$I$26&"-091 | =$I$26&"\Samples\"&$I$26&"-091"
$I$26&"\Samples\"&$I$26&"-092 | =$I$26&"\Samples\"&$I$26&"-092"
$I$26&"\Samples\"&$I$26&"-093 | =$I$26&"\Samples\"&$I$26&"-093"
$I$26&"\Samples\"&$I$26&"-094 | =$I$26&"\Samples\"&$I$26&"-094"
$I$26&"\Samples\"&$I$26&"-095 | =$I$26&"\Samples\"&$I$26&"-095"
$I$26&"\Samples\"&$I$26&"-096 | =$I$26&"\Samples\"&$I$26&"-096"
$I$26&"\Samples\"&$I$26&"-097 | =$I$26&"\Samples\"&$I$26&"-097"
$I$26&"\Samples\"&$I$26&"-098 | =$I$26&"\Samples\"&$I$26&"-098"
$I$26&"\Samples\"&$I$26&"-099 | =$I$26&"\Samples\"&$I$26&"-099"
$I$26&"\Samples\"&$I$26&"-100 | =$I$26&"\Samples\"&$I$26&"-100"
$I$26&"\Samples\"&$I$26&"-101 | =$I$26&"\Samples\"&$I$26&"-101"
$I$26&"\Samples\"&$I$26&"-102 | =$I$26&"\Samples\"&$I$26&"-102"
$I$26&"\Samples\"&$I$26&"-103 | =$I$26&"\Samples\"&$I$26&"-103"
$I$26&"\Samples\"&$I$26&"-104 | =$I$26&"\Samples\"&$I$26&"-104"
$I$26&"\Samples\"&$I$26&"-105 | =$I$26&"\Samples\"&$I$26&"-105"
$I$26&"\Samples\"&$I$26&"-106 | =$I$26&"\Samples\"&$I$26&"-106"
$I$26&"\Samples\"&$I$26&"-107 | =$I$26&"\Samples\"&$I$26&"-107"
$I$26&"\Samples\"&$I$26&"-108 | =$I$26&"\Samples\"&$I$26&"-108"
$I$26&"\Samples\"&$I$26&"-109 | =$I$26&"\Samples\"&$I$26&"-109"
$I$26&"\Samples\"&$I$26&"-110 | =$I$26&"\Samples\"&$I$26&"-110"
$I$26&"\Samples\"&$I$26&"-111 | =$I$26&"\Samples\"&$I$26&"-111"
$I$26&"\Samples\"&$I$26&"-112 | =$I$26&"\Samples\"&$I$26&"-112"
$I$26&"\Samples\"&$I$26&"-113 | =$I$26&"\Samples\"&$I$26&"-113"
$I$26&"\Samples\"&$I$26&"-114 | =$I$26&"\Samples\"&$I$26&"-114"
$I$26&"\Samples\"&$I$26&"-115 | =$I$26&"\Samples\"&$I$26&"-115"
$I$26&"\Samples\"&$I$26&"-116 | =$I$26&"\Samples\"&$I$26&"-116"
$I$26&"\Samples\"&$I$26&"-117 | =$I$26&"\Samples\"&$I$26&"-117"
$I$26&"\Samples\"&$I$26&"-118 | =$I$26&"\Samples\"&$I$26&"-118"
$I$26&"\Samples\"&$I$26&"-119 | =$I$26&"\Samples\"&$I$26&"-119"
$I$26&"\Samples\"&$I$26&"-120 | =$I$26&"\Samples\"&$I$26&"-120"
$I$26&"\Samples\"&$I$26&"-121 | =$I$26&"\Samples\"&$I$26&"-121"
$I$26&"\Samples\"&$I$26&"-122 | =$I$26&"\Samples\"&$I$26&"-122"
$I$26&"\Samples\"&$I$26&"-123 | =$I$26&"\Samples\"&$I$26&"-123"
$I$26&"\Samples\"&$I$26&"-124 | =$I$26&"\Samples\"&$I$26&"-124"
$I$26&"\Samples\"&$I$26&"-125 | =$I$26&"\Samples\"&$I$26&"-125"
$I$26&"\Samples\"&$I$26&"-126 | =$I$26&"\Samples\"&$I$26&"-126"
$I$26&"\Samples\"&$I$26&"-127 | =$I$26&"\Samples\"&$I$26&"-127"
$I$26&"\Samples\"&$I$26&"-128 | =$I$26&"\Samples\"&$I$26&"-128"
$I$26&"\Samples\"&$I$26&"-129 | =$I$26&"\Samples\"&$I$26&"-129"
$I$26&"\Samples\"&$I$26&"-130 | =$I$26&"\Samples\"&$I$26&"-130"
$I$26&"\Samples\"&$I$26&"-131 | =$I$26&"\Samples\"&$I$26&"-131"
$I$26&"\Samples\"&$I$26&"-132 | =$I$26&"\Samples\"&$I$26&"-132"
$I$26&"\Samples\"&$I$26&"-133 | =$I$26&"\Samples\"&$I$26&"-133"
$I$26&"\Samples\"&$I$26&"-134 | =$I$26&"\Samples\"&$I$26&"-134"
$I$26&"\Samples\"&$I$26&"-135 | =$I$26&"\Samples\"&$I$26&"-135"
$I$26&"\Samples\"&$I$26&"-136 | =$I$26&"\Samples\"&$I$26&"-136"
$I$26&"\Samples\"&$I$26&"-137 | =$I$26&"\Samples\"&$I$26&"-137"
$I$26&"\Samples\"&$I$26&"-138 | =$I$26&"\Samples\"&$I$26&"-138"
$I$26&"\Samples\"&$I$26&"-139 | =$I$26&"\Samples\"&$I$26&"-139"
$I$26&"\Samples\"&$I$26&"-140 | =$I$26&"\Samples\"&$I$26&"-140"
$I$26&"\Samples\"&$I$26&"-141 | =$I$26&"\Samples\"&$I$26&"-141"
$I$26&"\Samples\"&$I$26&"-142 | =$I$26&"\Samples\"&$I$26&"-142"
$I$26&"\Samples\"&$I$26&"-143 | =$I$26&"\Samples\"&$I$26&"-143"
$I$26&"\Samples\"&$I$26&"-144 | =$I$26&"\Samples\"&$I$26&"-144"
$I$26&"\Samples\"&$I$26&"-145 | =$I$26&"\Samples\"&$I$26&"-145"
$I$26&"\Samples\"&$I$26&"-146 | =$I$26&"\Samples\"&$I$26&"-146"
$I$26&"\Samples\"&$I$26&"-147 | =$I$26&"\Samples\"&$I$26&"-147"
$I$26&"\Samples\"&$I$26&"-148 | =$I$26&"\Samples\"&$I$26&"-148"
$I$26&"\Samples\"&$I$26&"-149 | =$I$26&"\Samples\"&$I$26&"-149"
$I$26&"\Samples\"&$I$26&"-150 | =$I$26&"\Samples\"&$I$26&"-150"
$I$26&"\Samples\"&$I$26&"-151 | =$I$26&"\Samples\"&$I$26&"-151"
$I$26&"\Samples\"&$I$26&"-152 | =$I$26&"\Samples\"&$I$26&"-152"
$I$26&"\Samples\"&$I$26&"-153 | =$I$26&"\Samples\"&$I$26&"-153"
$I$26&"\Samples\"&$I$26&"-154 | =$I$26&"\Samples\"&$I$26&"-154"
$I$26&"\Samples\"&$I$26&"-155 | =$I$26&"\Samples\"&$I$26&"-155"
$I$26&"\Samples\"&$I$26&"-156 | =$I$26&"\Samples\"&$I$26&"-156"
$I$26&"\Samples\"&$I$26&"-157 | =$I$26&"\Samples\"&$I$26&"-157"
$I$26&"\Samples\"&$I$26&"-158 | =$I$26&"\Samples\"&$I$26&"-158"
$I$26&"\Samples\"&$I$26&"-159 | =$I$26&"\Samples\"&$I$26&"-159"
$I$26&"\Samples\"&$I$26&"-160 | =$I$26&"\Samples\"&$I$26&"-160"
$I$26&"\Samples\"&$I$26&"-161 | =$I$26&"\Samples\"&$I$26&"-161"
$I$26&"\Samples\"&$I$26&"-162 | =$I$26&"\Samples\"&$I$26&"-162"
$I$26&"\Samples\"&$I$26&"-163 | =$I$26&"\Samples\"&$I$26&"-163"
$I$26&"\Samples\"&$I$26&"-164 | =$I$26&"\Samples\"&$I$26&"-164"
$I$26&"\Samples\"&$I$26&"-165 | =$I$26&"\Samples\"&$I$26&"-165"
$I$26&"\Samples\"&$I$26&"-166 | =$I$26&"\Samples\"&$I$26&"-166"
$I$26&"\Samples\"&$I$26&"-167 | =$I$26&"\Samples\"&$I$26&"-167"
$I$26&"\Samples\"&$I$26&"-168 | =$I$26&"\Samples\"&$I$26&"-168"
$I$26&"\Samples\"&$I$26&"-169 | =$I$26&"\Samples\"&$I$26&"-169"
$I$26&"\Samples\"&$I$26&"-170 | =$I$26&"\Samples\"&$I$26&"-170"
$I$26&"\Samples\"&$I$26&"-171 | =$I$26&"\Samples\"&$I$26&"-171"
$I$26&"\Samples\"&$I$26&"-172 | =$I$26&"\Samples\"&$I$26&"-172"
$I$26&"\Samples\"&$I$26&"-173 | =$I$26&"\Samples\"&$I$26&"-173"
$I$26&"\Samples\"&$I$26&"-174 | =$I$26&"\Samples\"&$I$26&"-174"
$I$26&"\Samples\"&$I$26&"-175 | =$I$26&"\Samples\"&$I$26&"-175"
$I$26&"\Samples\"&$I$26&"-176 | =$I$26&"\Samples\"&$I$26&"-176"
$I$26&"\Samples\"&$I$26&"-177 | =$I$26&"\Samples\"&$I$26&"-177"
$I$26&"\Samples\"&$I$26&"-178 | =$I$26&"\Samples\"&$I$26&"-178"
$I$26&"\Samples\"&$I$26&"-179 | =$I$26&"\Samples\"&$I$26&"-179"
$I$26&"\Samples\"&$I$26&"-180 | =$I$26&"\Samples\"&$I$26&"-180"
$I$26&"\Samples\"&$I$26&"-181 | =$I$26&"\Samples\"&$I$26&"-181"
$I$26&"\Samples\"&$I$26&"-182 | =$I$26&"\Samples\"&$I$26&"-182"
$I$26&"\Samples\"&$I$26&"-183 | =$I$26&"\Samples\"&$I$26&"-183"
$I$26&"\Samples\"&$I$26&"-184 | =$I$26&"\Samples\"&$I$26&"-184"
$I$26&"\Samples\"&$I$26&"-185 | =$I$26&"\Samples\"&$I$26&"-185"
$I$26&"\Samples\"&$I$26&"-186 | =$I$26&"\Samples\"&$I$26&"-186"
$I$26&"\Samples\"&$I$26&"-187 | =$I$26&"\Samples\"&$I$26&"-187"
$I$26&"\Samples\"&$I$26&"-188 | =$I$26&"\Samples\"&$I$26&"-188"
$I$26&"\Samples\"&$I$26&"-189 | =$I$26&"\Samples\"&$I$26&"-189"
$I$26&"\Samples\"&$I$26&"-190 | =$I$26&"\Samples\"&$I$26&"-190"
$I$26&"\Samples\"&$I$26&"-191 | =$I$26&"\Samples\"&$I$26&"-191"
$I$26&"\Samples\"&$I$26&"-192 | =$I$26&"\Samples\"&$I$26&"-192"
$I$26&"\Samples\"&$I$26&"-193 | =$I$26&"\Samples\"&$I$26&"-193"
$I$26&"\Samples\"&$I$26&"-194 | =$I$26&"\Samples\"&$I$26&"-194"
$I$26&"\Samples\"&$I$26&"-195 | =$I$26&"\Samples\"&$I$26&"-195"
$I$26&"\Samples\"&$I$26&"-196 | =$I$26&"\Samples\"&$I$26&"-196"
$I$26&"\Samples\"&$I$26&"-197 | =$I$26&"\Samples\"&$I$26&"-197"
$I$26&"\Samples\"&$I$26&"-198 | =$I$26&"\Samples\"&$I$26&"-198"
$I$26&"\Samples\"&$I$26&"-199 | =$I$26&"\Samples\"&$I$26&"-199"
$I$26&"\Samples\"&$I$26&"-200 | =$I$26&"\Samples\"&$I$26&"-200"
$I$26&"\Samples\"&$I$26&"-201 | =$I$26&"\Samples\"&$I$26&"-201"
$I$26&"\Samples\"&$I$26&"-202 | =$I$26&"\Samples\"&$I$26&"-202"
$I$26&"\Samples\"&$I$26&"-203 | =$I$26&"\Samples\"&$I$26&"-203"
$I$26&"\Samples\"&$I$26&"-204 | =$I$26&"\Samples\"&$I$26&"-204"
$I$26&"\Samples\"&$I$26&"-205 | =$I$26&"\Samples\"&$I$26&"-205"
$I$26&"\Samples\"&$I$26&"-206 | =$I$26&"\Samples\"&$I$26&"-206"
$I$26&"\Samples\"&$I$26&"-207 | =$I$26&"\Samples\"&$I$26&"-207"

## Log
Send questions/suggestions to [redacted]
Revision | Date | Comment
1 | 2022-02-03 | Create file - backup found in LH's folder
2 | 2022-07-06 | Update plate map tab: display 0s as blank instead of 0
3 | 2022-09-15 | Change data file paths to formulas - this column can now be changed from the blue cell (I26); Sheet1 contains the formulas
4 | 2023-01-18 | Change solvent vial positions to better demonstrate potential carryover issues
5 | 2023-01-30 | Add Sample Types
6 | 2023-02-07 | Add autofill date prefix to cal/QCs section, autofill log revision #s