## User Manual
PLEASE DO NOT CHANGE FORMULAS OR SAVE OVER THE TEMPLATE. MAKE A COPY OF THE TEMPLATE FOR USE.
Template file is saved in <path>. Spreadsheet is based on the validation spreadsheet.
"QC and Calibrators" sheet supports up to 20 analytical runs. Make another copy if you have >20 runs and append an appropriate suffix (e.g. "File 1 of 2").
Please contact LH if you have any questions. Backup copy can be found in LH's folder.
Step 1: Import Raw Data
1. Save As the file to specific project folder. Please do not overwrite the template.
2. Add analytical run information to the "Project Summary" sheet as follows:
a. Batch: will autogenerate a number in sequence, no need to edit this column
b. Analysis Date: must be a date, it should auto-format to YYYY-MM-DD
c. Analyte: Enter your analyte to automatically name each table. Make a new result file for every analyte.
3. Make a copy of the "X_Exp-YYMMDD" spreadsheet. Sheet "1_Exp-220101" uses an example sheet name. This sheet can also be used as a template but must be renamed.
a. X is the Batch number from "Project Summary" sheet.
b. Date must match Analysis Date from "Project Summary" sheet.
c. If your raw data sheet does not match the generated name you may get a #REF error.
4. For raw data exports:
a. Calibrator names must contain "Cal 1" and "Cal 8" to auto-populate LLOQ and ULOQ in columns T and U. Save the original name (see step 2.2) and manually change as necessary.
b. Paste values into B2 (make sure headers line up). If headers do not line up you may get a #N/A error.
Step 2: Clean Up Raw Data Exports
1. If modifying any sample names in the raw data exports, copy the original sample name into column A.
2. Save the original name in column A and only make changes to the name in column C.
3. Change the sample name as needed. Format should be as follows:
a. Calibrators: YYMMDD_Cal 1, YYMMDD_Cal 7, etc.
b. QCs: YYMMDD_QCL R2, YYMMDD_QCH R4, etc. (Supports up to 4 replicates at each level, insert new cells and shift down to add more replicates)
4. If there are only 2 replicates of each QC, unmerge the Run Number and Pass/Fail cells before deleting. Shift cells up.
5. Type in Slope/Intercept/R information manually
6. Delete any unused cells/sheets (e.g. cells containing "Missing Batch #", "DELETE ME").
7. Edit the the cells containing average and standard deviation for calibrator 1 so that they reference the correct cells.
8. Copy the cells containing average and standard deviation for calibrator 1. Right click and paste the formula (see image on the right) into the remaining calibrator cells.
Step 3. Report Preparation
1. In "Project Summary" speadsheet, fill out the assay information. If there is only 1 analyte you can leave the analyte name blank.
2. Finalize by copying and pasting as values before reviewing/QA review to prevent formulas from breaking/dynamic values.
3. Check all tables for report as part of the initial/self review process.
4. Print Project Summary, QC and Calibrators, and Data Summary sheets
5. Rename the file "ProjectNumber_Results_MethodNo-YYMMDD" -- Replace YYMMDD with the method number, or remove if there is no validated method (non-GLP only).

## Project Summary
ANALYTE NAME Sample Analysis Summary
Batch | Analysis Date | Test Performed | Sample Collection Date | Data Reported | Comments | Sheet Name | Analyte
1 | 2023-01-01 | Day 1 | 2021-12-20 | Yes |  | 1_Exp-230101 | ANALYTE NAME
2 | 2023-02-02 | Day 7 | 2021-12-27 | No |  | 2_Exp-230202
3 | YYMMDD |  |  |  |  | 3_Exp-YYMMDD

## QC and Calibrators
ANALYTE NAME Calibration Curve Parameters |  |  |  | ANALYTE NAME Calibration Standard Results | [9 empty] | ANALYTE NAME QC Sample Results
Run Number | Linear Regression (ax + b) with (1/x2) Weighting for Peak Areas |  |  | Run Number | Calibrator Concentration (ng/mL) | [8 empty] | Run Number | QC Concentration
| Slope | Intercept | r |  | 1 | 2 | 5 | 10 | 50 | 100 | 500 | 1000 | RESULT |  | Low (3 ng/mL) |  | Mid (400 ng/mL) |  | High (800 ng/mL) |  | RESULT
1 |  |  |  | 1 | 1.04 | 1.87 | 1.91* | 9.39 | 50 | 101 | 516 | 1050 | 7 of 8 - Pass |  | ng/mL | % Accuracy | ng/mL | % Accuracy | ng/mL | % Accuracy
2 |  |  |  | Accuracy (%) | 104 | 93.7 | 38.3* | 93.9 | 100 | 101 | 103 | 105 |  | 1 | 0.922* | 30.7* | 334* | 83.6* | 764 | 95.5 | 7 of 12 - Fail
3 |  |  |  | 2 | 0.198 | 0.534 | 0.895 | 5.17 | 9.94 | 49.3 | 100 | 205 | 8 of 8 - Pass |  | 3.24 | 108 | 397 | 99.3 | 980* | 122*
DELETE ME |  |  |  | Accuracy (%) | 99.2 | 107 | 89.5 | 103 | 99.4 | 98.6 | 100 | 102 |  |  | 1.83* | 60.9* | 417 | 104 | 652* | 81.5*
DELETE ME |  |  |  | 3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 of 8 - Fail |  | 2.75 | 91.5 | 420 | 105 | 769 | 96.2
DELETE ME |  |  |  | Accuracy (%) | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | 2 | 0.58 | 96.7 | #N/A | #N/A | #N/A | #N/A | 1 of 12 - Fail
DELETE ME |  |  |  | DELETE ME | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | 0 of 8 - Fail |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
DELETE ME |  |  |  | Accuracy (%) | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # |  |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
DELETE ME |  |  |  | DELETE ME | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | 0 of 8 - Fail |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
DELETE ME |  |  |  | Accuracy (%) | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # |  | 3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 of 12 - Fail
DELETE ME |  |  |  | DELETE ME | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | 0 of 8 - Fail |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
DELETE ME |  |  |  | Accuracy (%) | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # |  |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
DELETE ME |  |  |  | DELETE ME | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | 0 of 8 - Fail |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
DELETE ME |  |  |  | Accuracy (%) | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # |  | DELETE ME | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | 0 of 12 - Fail
DELETE ME |  |  |  | DELETE ME | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | 0 of 8 - Fail |  | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch #
DELETE ME |  |  |  | Accuracy (%) | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # |  |  | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch #
DELETE ME |  |  |  | DELETE ME | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | 0 of 8 - Fail |  | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch #
DELETE ME |  |  |  | Accuracy (%) | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # |  | DELETE ME | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | 0 of 12 - Fail
DELETE ME |  |  |  | DELETE ME | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | 0 of 8 - Fail |  | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch #
DELETE ME |  |  |  | Accuracy (%) | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # |  |  | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch #
|  |  |  | DELETE ME | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | 0 of 8 - Fail |  | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch #
|  |  |  | Accuracy (%) | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # |  | DELETE ME | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | 0 of 12 - Fail
|  |  |  | DELETE ME | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | 0 of 8 - Fail |  | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch #
|  |  |  | Accuracy (%) | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # |  |  | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch #
|  |  |  | DELETE ME | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | 0 of 8 - Fail |  | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch #
|  |  |  | Accuracy (%) | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # |  | DELETE ME | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | 0 of 12 - Fail
|  |  |  | DELETE ME | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | 0 of 8 - Fail |  | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch #
|  |  |  | Accuracy (%) | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # |  |  | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch #
|  |  |  | DELETE ME | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | 0 of 8 - Fail |  | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch #
|  |  |  | Accuracy (%) | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # |  | DELETE ME | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | 0 of 12 - Fail
|  |  |  | DELETE ME | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | 0 of 8 - Fail |  | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch #
|  |  |  | Accuracy (%) | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # |  |  | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch #
|  |  |  | DELETE ME | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | 0 of 8 - Fail |  | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch #
|  |  |  | Accuracy (%) | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # |  | DELETE ME | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | 0 of 12 - Fail
|  |  |  | DELETE ME | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | 0 of 8 - Fail |  | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch #
|  |  |  | Accuracy (%) | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # |  |  | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch #
|  |  |  | DELETE ME | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | 0 of 8 - Fail |  | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch #
|  |  |  | Accuracy (%) | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # |  | DELETE ME | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | 0 of 12 - Fail
|  |  |  | DELETE ME | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | 0 of 8 - Fail |  | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch #
|  |  |  | Accuracy (%) | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # |  |  | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch #
[15 empty] | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch #
[14 empty] | DELETE ME | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | 0 of 12 - Fail
[15 empty] | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch #
|  |  |  | Average: | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  |  | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch #
|  |  |  | STD: | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  |  | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch #
|  |  |  | %RSD: | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | DELETE ME | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | 0 of 12 - Fail
[15 empty] | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch #
[15 empty] | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch #
[15 empty] | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch #
[14 empty] | DELETE ME | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | 0 of 12 - Fail
[15 empty] | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch #
[15 empty] | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch #
[15 empty] | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch #
[14 empty] | DELETE ME | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | 0 of 12 - Fail
[15 empty] | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch #
[15 empty] | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch #
[15 empty] | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch #
[14 empty] | DELETE ME | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | 0 of 12 - Fail
[15 empty] | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch #
[15 empty] | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch #
[15 empty] | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch #
[14 empty] | DELETE ME | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | 0 of 12 - Fail
[15 empty] | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch #
[15 empty] | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch #
[15 empty] | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch #
[14 empty] | DELETE ME | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | 0 of 12 - Fail
[15 empty] | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch #
[15 empty] | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch #
[15 empty] | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch #
[14 empty] | DELETE ME | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | 0 of 12 - Fail
[15 empty] | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch #
[15 empty] | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch #
[15 empty] | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch #
[14 empty] | DELETE ME | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | 0 of 12 - Fail
[15 empty] | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch #
[15 empty] | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch #
[15 empty] | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch #
[14 empty] | DELETE ME | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | 0 of 12 - Fail
[15 empty] | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch #
[15 empty] | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch #
[15 empty] | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch # | Missing Batch #
[14 empty] | Average: | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[14 empty] | STD: | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[14 empty] | %RSD: | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A

## Data Summary
IITRI Project Name and No.: XXXX00100101 Analysis of ANALYTE NAME in SPECIES MATRIX
Method Validation No.: 190801 Version 1
Concentration Range: 5 - 500 ng/mL
Analysis Date&Initial: 2020-08-17/18 FOO
Group | Treatment& Route | Gender | Day | Time Point (hr) | Pre-dose | 0.5 | 1 | 2 | 4 | 8 | 24
|  |  |  | Animal ID | ABC/DEF/GHI/JKL
1 | 0mg/kg (Route) | M | 1 | Concentration (ng/mL)
|  |  |  | Average | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | STD | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | %RSD | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Group | Treatment& Route | Gender | Day | Time Point (hr) | Pre-dose | 0.5 | 1 | 2 | 4 | 8 | 24
|  |  |  | Animal ID | MNO/PQR/STU/VWX
2 | 0mg/kg (Route) | M | 1 | Concentration (ng/mL)
|  |  |  | Average | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | STD | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | %RSD | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Group | Treatment& Route | Gender | Day | Time Point (hr) | Pre-dose | 0.5 | 1 | 2 | 4 | 8 | 24
|  |  |  | Animal ID | ABC/DEF/GHI/JKL
3 | 50mg/kg (Route) | M | 1 | Concentration (ng/mL)
|  |  |  | Average | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | STD | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | %RSD | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Group | Treatment& Route | Gender | Day | Time Point (hr) | Pre-dose | 0.5 | 1 | 2 | 4 | 8 | 24
|  |  |  | Animal ID | MNO/PQR/STU/VWX
4 | 50mg/kg (Route) | M | 1 | Concentration (ng/mL)
|  |  |  | Average | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | STD | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | %RSD | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!

## 1_Exp-230101
*Copy Orignial Sample Name in this column for tracking |  | Sample Name | Sample Type | File Name | Dilution Factor | Analyte Peak Name | Analyte Peak Area (counts) | Analyte Peak Height (cps) | Analyte Concentration (ng/mL) | IS Peak Area (counts) | IS Peak Height (cps) | Use Record | Record Modified | Calculated Concentration (ng/mL) | Accuracy (%) | Data for Report | LLOQ | ULOQ
Sample Name |  | Sample Name | Sample Type | File Name | Dilution Factor | Analyte Peak Name | Analyte Peak Area (counts) | Analyte Peak Height (cps) | Analyte Concentration (ng/mL) | IS Peak Area (counts) | IS Peak Height (cps) | Use Record | Record Modified | Calculated Concentration (ng/mL) | Accuracy (%) |  | 1 | 1000 | Please copy the raw data from line 2 and manually type the LLOQ and ULOQ concentration. Any numbers below LLOQ or above ULOQ will be highlighted automatically.
Solvent | 1 | 230302_Solvent | Solvent | 230303\Samples\230303-001.wiff | 1 | ANALYTE NAME | 981 | 252 | 0 | 0 | 0 |  | 0 | N/A | N/A
191017_S_Cal 1 | 2 | 230302_DBlank | Double Blank | 230303\Samples\230303-002.wiff | 1 | ANALYTE NAME | 472 | 84.9 | 0 | 0 | 0 |  | 0 | N/A | N/A
191017_S_Cal 2 | 3 | 230302_Blank | Blank | 230303\Samples\230303-003.wiff | 1 | ANALYTE NAME | 391 | 111 | 0 | 233000 | 44900 |  | 0 | N/A | N/A
191017_S_Cal 3 | 4 | 230302_Cal 1 | Standard | 230303\Samples\230303-004.wiff | 1 | ANALYTE NAME | 2800 | 538 | 1 | 240000 | 44800 | 1 | 0 | 1.04 | 104
191017_S_Cal 4 | 5 | 230302_Cal 2 | Standard | 230303\Samples\230303-005.wiff | 1 | ANALYTE NAME | 4210 | 748 | 2 | 229000 | 43500 | 1 | 0 | 1.87 | 93.7
191017_S_Cal 5 | 6 | 230302_Cal 3 | Standard | 230303\Samples\230303-006.wiff | 1 | ANALYTE NAME | 4460 | 914 | 5 | 239000 | 44100 | 0 | 0 | 1.91 | 38.3
191017_S_Cal 6 | 7 | 230302_Cal 4 | Standard | 230303\Samples\230303-007.wiff | 1 | ANALYTE NAME | 18100 | 3420 | 10 | 230000 | 43700 | 1 | 0 | 9.39 | 93.9
191017_S_Cal 7 | 8 | 230302_Cal 5 | Standard | 230303\Samples\230303-008.wiff | 1 | ANALYTE NAME | 91200 | 17200 | 50 | 226000 | 43400 | 1 | 0 | 50 | 100
191017_S_Cal 8 | 9 | 230302_Cal 6 | Standard | 230303\Samples\230303-009.wiff | 1 | ANALYTE NAME | 182000 | 33500 | 100 | 224000 | 43000 | 1 | 0 | 101 | 101
| 10 | 230302_Cal 7 | Standard | 230303\Samples\230303-010.wiff | 1 | ANALYTE NAME | 918000 | 170000 | 500 | 222000 | 42400 | 1 | 0 | 516 | 103
| 11 | 230302_Cal 8 | Standard | 230303\Samples\230303-011.wiff | 1 | ANALYTE NAME | 1930000 | 354000 | 1000 | 229000 | 43700 | 1 | 0 | 1050 | 105
| 12 | 230302_Solvent | Solvent | 230303\Samples\230303-012.wiff | 1 | ANALYTE NAME | 586 | 168 | 0 | 0 | 0 |  | 0 | N/A | N/A
| 13 | 230302_QCL R1 | Quality Control | 230303\Samples\230303-013.wiff | 1 | ANALYTE NAME | 2390 | 411 | 3 | 223000 | 42400 | 1 | 0 | 0.922 | 30.7
| 14 | 230302_QCM R1 | Quality Control | 230303\Samples\230303-014.wiff | 1 | ANALYTE NAME | 590000 | 110000 | 400 | 220000 | 41600 | 1 | 0 | 334 | 83.6
| 15 | 230302_QCH R1 | Quality Control | 230303\Samples\230303-015.wiff | 1 | ANALYTE NAME | 1410000 | 264000 | 800 | 229000 | 44700 | 1 | 0 | 764 | 95.5
| 16 | 230302_QCL R2 | Quality Control | 230303\Samples\230303-016.wiff | 1 | ANALYTE NAME | 6520 | 1120 | 3 | 222000 | 42400 | 1 | 0 | 3.24 | 108
| 17 | 230302_QCM R2 | Quality Control | 230303\Samples\230303-017.wiff | 1 | ANALYTE NAME | 704000 | 133000 | 400 | 221000 | 42200 | 1 | 0 | 397 | 99.3
| 18 | 230302_QCH R2 | Quality Control | 230303\Samples\230303-018.wiff | 1 | ANALYTE NAME | 1840000 | 344000 | 800 | 234000 | 42900 | 1 | 0 | 980 | 122
| 19 | 230302_Solvent | Solvent | 230303\Samples\230303-019.wiff | 1 | ANALYTE NAME | 670 | 191 | 0 | 0 | 0 |  | 0 | N/A | N/A
| 20 | 230302_QCL R3 | Quality Control | 230303\Samples\230303-020.wiff | 1 | ANALYTE NAME | 4090 | 775 | 3 | 227000 | 43400 | 1 | 0 | 1.83 | 60.9
| 21 | Sample 1 | Unknown | 230303\Samples\230303-021.wiff | 1 | ANALYTE NAME | 182 | 78.7 | N/A | 245000 | 46300 |  | 0 | < 0 | N/A | BQL
| 22 | Sample 2 | Unknown | 230303\Samples\230303-022.wiff | 1 | ANALYTE NAME | 66800 | 12700 | N/A | 242000 | 46200 |  | 0 | 34 | N/A | 34
| 23 | Sample 3 | Unknown | 230303\Samples\230303-023.wiff | 1 | ANALYTE NAME | 324000 | 62300 | N/A | 243000 | 46800 |  | 0 | 166 | N/A | 166
| 24 | Sample 4_10xDIL | Unknown | 230303\Samples\230303-024.wiff | 10 | ANALYTE NAME | 60400 | 11200 | N/A | 236000 | 44800 |  | 0 | 316 | N/A | 316
| 25 | Sample 5_10xDIL | Unknown | 230303\Samples\230303-025.wiff | 10 | ANALYTE NAME | 216000 | 40600 | N/A | 253000 | 47600 |  | 0 | 1060 | N/A | 1060
| 26 | Sample 6_10xDIL | Unknown | 230303\Samples\230303-026.wiff | 10 | ANALYTE NAME | 525000 | 99800 | N/A | 245000 | 47700 |  | 0 | 2670 | N/A | 2670
| 27 | Sample 7_10xDIL | Unknown | 230303\Samples\230303-027.wiff | 10 | ANALYTE NAME | 618000 | 117000 | N/A | 252000 | 46600 |  | 0 | 3060 | N/A | 3060
| 28 | Sample 8_10xDIL | Unknown | 230303\Samples\230303-028.wiff | 10 | ANALYTE NAME | 3100000 | 587000 | N/A | 257000 | 48000 |  | 0 | 15100 | N/A | AQL
| 29 | Sample 9_10xDIL | Unknown | 230303\Samples\230303-029.wiff | 10 | ANALYTE NAME | 3260000 | 609000 | N/A | 250000 | 48300 |  | 0 | 16300 | N/A | AQL
| 30 | Sample 10_10xDIL | Unknown | 230303\Samples\230303-030.wiff | 10 | ANALYTE NAME | 3290000 | 626000 | N/A | 251000 | 48200 |  | 0 | 16400 | N/A | AQL
| 31 | Sample 11_10xDIL | Unknown | 230303\Samples\230303-031.wiff | 10 | ANALYTE NAME | 3640000 | 678000 | N/A | 253000 | 48600 |  | 0 | 17900 | N/A | AQL
| 32 | 230302_QCM R3 | Quality Control | 230303\Samples\230303-032.wiff | 1 | ANALYTE NAME | 790000 | 146000 | 400 | 236000 | 43800 | 1 | 0 | 417 | 104
| 33 | Sample 12_10xDIL | Unknown | 230303\Samples\230303-033.wiff | 10 | ANALYTE NAME | 3860000 | 722000 | N/A | 250000 | 48000 |  | 0 | 19200 | N/A | AQL
| 34 | Sample 13_10xDIL | Unknown | 230303\Samples\230303-034.wiff | 10 | ANALYTE NAME | 4660000 | 869000 | N/A | 248000 | 47100 |  | 0 | 23400 | N/A | AQL
| 35 | Sample 14_10xDIL | Unknown | 230303\Samples\230303-035.wiff | 10 | ANALYTE NAME | 4470000 | 838000 | N/A | 247000 | 47200 |  | 0 | 22500 | N/A | AQL
| 36 | Sample 15 | Unknown | 230303\Samples\230303-036.wiff | 1 | ANALYTE NAME | 331 | 123 | N/A | 241000 | 46200 |  | 0 | < 0 | N/A | BQL
| 37 | Sample 16 | Unknown | 230303\Samples\230303-037.wiff | 1 | ANALYTE NAME | 61500 | 11100 | N/A | 241000 | 44800 |  | 0 | 31.4 | N/A | 31.4
| 38 | Sample 17 | Unknown | 230303\Samples\230303-038.wiff | 1 | ANALYTE NAME | 121000 | 22100 | N/A | 238000 | 44500 |  | 0 | 62.9 | N/A | 62.9
| 39 | Sample 18_10xDIL | Unknown | 230303\Samples\230303-039.wiff | 10 | ANALYTE NAME | 14100 | 2690 | N/A | 242000 | 46000 |  | 0 | 68.3 | N/A | 68.3
| 40 | Sample 19_10xDIL | Unknown | 230303\Samples\230303-040.wiff | 10 | ANALYTE NAME | 82500 | 15800 | N/A | 241000 | 45500 |  | 0 | 422 | N/A | 422
| 41 | Sample 20_10xDIL | Unknown | 230303\Samples\230303-041.wiff | 10 | ANALYTE NAME | 4270000 | 793000 | N/A | 246000 | 47000 |  | 0 | 21600 | N/A | AQL
| 42 | Sample 21_10xDIL | Unknown | 230303\Samples\230303-042.wiff | 10 | ANALYTE NAME | 4350000 | 806000 | N/A | 251000 | 47700 |  | 0 | 21600 | N/A | AQL
| 43 | Sample 22_10xDIL | Unknown | 230303\Samples\230303-043.wiff | 10 | ANALYTE NAME | 4220000 | 780000 | N/A | 258000 | 49600 |  | 0 | 20400 | N/A | AQL
| 44 | 230302_QCH R3 | Quality Control | 230303\Samples\230303-044.wiff | 1 | ANALYTE NAME | 1250000 | 230000 | 800 | 238000 | 44800 | 1 | 0 | 652 | 81.5
| 45 | Sample 23_10xDIL | Unknown | 230303\Samples\230303-045.wiff | 10 | ANALYTE NAME | 4840000 | 926000 | N/A | 252000 | 47300 |  | 0 | 24000 | N/A | AQL
| 46 | Sample 24_10xDIL | Unknown | 230303\Samples\230303-046.wiff | 10 | ANALYTE NAME | 4360000 | 810000 | N/A | 245000 | 46500 |  | 0 | 22200 | N/A | AQL
| 47 | Sample 25_10xDIL | Unknown | 230303\Samples\230303-047.wiff | 10 | ANALYTE NAME | 4230000 | 786000 | N/A | 247000 | 47700 |  | 0 | 21400 | N/A | AQL
| 48 | Sample 26_10xDIL | Unknown | 230303\Samples\230303-048.wiff | 10 | ANALYTE NAME | 3470000 | 646000 | N/A | 247000 | 45300 |  | 0 | 17500 | N/A | AQL
| 49 | Sample 27 | Unknown | 230303\Samples\230303-049.wiff | 1 | ANALYTE NAME | 138 | 74.7 | N/A | 239000 | 46000 |  | 0 | < 0 | N/A | BQL
| 50 | Sample 28 | Unknown | 230303\Samples\230303-050.wiff | 1 | ANALYTE NAME | 52400 | 10200 | N/A | 238000 | 45300 |  | 0 | 27 | N/A | 27
| 51 | Sample 29 | Unknown | 230303\Samples\230303-051.wiff | 1 | ANALYTE NAME | 439000 | 80100 | N/A | 243000 | 46000 |  | 0 | 225 | N/A | 225
| 52 | Sample 30_10xDIL | Unknown | 230303\Samples\230303-052.wiff | 10 | ANALYTE NAME | 78500 | 14200 | N/A | 236000 | 44400 |  | 0 | 410 | N/A | 410
| 53 | Sample 31_10xDIL | Unknown | 230303\Samples\230303-053.wiff | 10 | ANALYTE NAME | 208000 | 38800 | N/A | 237000 | 43800 |  | 0 | 1090 | N/A | 1090
| 54 | Sample 32_10xDIL | Unknown | 230303\Samples\230303-054.wiff | 10 | ANALYTE NAME | 501000 | 90200 | N/A | 235000 | 45600 |  | 0 | 2650 | N/A | 2650
| 55 | Sample 33_10xDIL | Unknown | 230303\Samples\230303-055.wiff | 10 | ANALYTE NAME | 535000 | 99400 | N/A | 246000 | 45100 |  | 0 | 2700 | N/A | 2700
| 56 | 230302_QCL R4 | Quality Control | 230303\Samples\230303-056.wiff | 1 | ANALYTE NAME | 5840 | 1040 | 3 | 230000 | 43300 | 1 | 0 | 2.75 | 91.5
| 57 | Sample 34 | Unknown | 230303\Samples\230303-057.wiff | 1 | ANALYTE NAME | 504 | 164 | N/A | 249000 | 46600 |  | 0 | < 0 | N/A | BQL
| 58 | Sample 35 | Unknown | 230303\Samples\230303-058.wiff | 1 | ANALYTE NAME | 78400 | 13900 | N/A | 249000 | 47600 |  | 0 | 38.9 | N/A | 38.9
| 59 | Sample 36 | Unknown | 230303\Samples\230303-059.wiff | 1 | ANALYTE NAME | 419000 | 78500 | N/A | 255000 | 47900 |  | 0 | 205 | N/A | 205
| 60 | Sample 37_10xDIL | Unknown | 230303\Samples\230303-060.wiff | 10 | ANALYTE NAME | 92300 | 17100 | N/A | 244000 | 45200 |  | 0 | 468 | N/A | 468
| 61 | Sample 38_10xDIL | Unknown | 230303\Samples\230303-061.wiff | 10 | ANALYTE NAME | 362000 | 68300 | N/A | 239000 | 45600 |  | 0 | 1880 | N/A | 1880
| 62 | Sample 39_10xDIL | Unknown | 230303\Samples\230303-062.wiff | 10 | ANALYTE NAME | 529000 | 96900 | N/A | 231000 | 43900 |  | 0 | 2850 | N/A | 2850
| 63 | Sample 40_10xDIL | Unknown | 230303\Samples\230303-063.wiff | 10 | ANALYTE NAME | 484000 | 88200 | N/A | 254000 | 47900 |  | 0 | 2370 | N/A | 2370
| 64 | Sample 41_10xDIL | Unknown | 230303\Samples\230303-064.wiff | 10 | ANALYTE NAME | 4260000 | 791000 | N/A | 252000 | 47600 |  | 0 | 21000 | N/A | AQL
| 65 | Sample 42 | Unknown | 230303\Samples\230303-065.wiff | 1 | ANALYTE NAME | 757 | 190 | N/A | 251000 | 46800 |  | 0 | < 0 | N/A | BQL
| 66 | Sample 43 | Unknown | 230303\Samples\230303-066.wiff | 1 | ANALYTE NAME | 876000 | 166000 | N/A | 249000 | 46900 |  | 0 | 438 | N/A | 438
| 67 | Sample 44 | Unknown | 230303\Samples\230303-067.wiff | 1 | ANALYTE NAME | 2710000 | 500000 | N/A | 242000 | 46500 |  | 0 | 1390 | N/A | AQL
| 68 | 230302_QCM R4 | Quality Control | 230303\Samples\230303-068.wiff | 1 | ANALYTE NAME | 753000 | 140000 | 400 | 223000 | 41200 | 1 | 0 | 420 | 105
| 69 | Sample 45_10xDIL | Unknown | 230303\Samples\230303-069.wiff | 10 | ANALYTE NAME | 624000 | 116000 | N/A | 230000 | 44100 |  | 0 | 3380 | N/A | 3380
| 70 | Sample 46_10xDIL | Unknown | 230303\Samples\230303-070.wiff | 10 | ANALYTE NAME | 617000 | 115000 | N/A | 230000 | 43300 |  | 0 | 3350 | N/A | 3350
| 71 | Sample 47_10xDIL | Unknown | 230303\Samples\230303-071.wiff | 10 | ANALYTE NAME | 515000 | 94200 | N/A | 235000 | 44100 |  | 0 | 2730 | N/A | 2730
| 72 | Sample 48_10xDIL | Unknown | 230303\Samples\230303-072.wiff | 10 | ANALYTE NAME | 477000 | 90000 | N/A | 241000 | 44900 |  | 0 | 2470 | N/A | 2470
| 73 | Sample 49_10xDIL | Unknown | 230303\Samples\230303-073.wiff | 10 | ANALYTE NAME | 10100000 | 1830000 | N/A | 241000 | 45300 |  | 0 | 52300 | N/A | AQL
| 74 | Sample 50_10xDIL | Unknown | 230303\Samples\230303-074.wiff | 10 | ANALYTE NAME | 8660000 | 1580000 | N/A | 232000 | 43100 |  | 0 | 46400 | N/A | AQL
| 75 | Sample 51_10xDIL | Unknown | 230303\Samples\230303-075.wiff | 10 | ANALYTE NAME | 8600000 | 1570000 | N/A | 234000 | 45600 |  | 0 | 45800 | N/A | AQL
| 76 | Sample 52_10xDIL | Unknown | 230303\Samples\230303-076.wiff | 10 | ANALYTE NAME | 9410000 | 1710000 | N/A | 230000 | 42900 |  | 0 | 51000 | N/A | AQL
| 77 | Sample 53_10xDIL | Unknown | 230303\Samples\230303-077.wiff | 10 | ANALYTE NAME | 10200000 | 1860000 | N/A | 247000 | 45900 |  | 0 | 51300 | N/A | AQL
| 78 | Sample 54_10xDIL | Unknown | 230303\Samples\230303-078.wiff | 10 | ANALYTE NAME | 8620000 | 1580000 | N/A | 233000 | 43000 |  | 0 | 46200 | N/A | AQL
| 79 | Sample 55_10xDIL | Unknown | 230303\Samples\230303-079.wiff | 10 | ANALYTE NAME | 9580000 | 1760000 | N/A | 232000 | 42500 |  | 0 | 51400 | N/A | AQL
| 80 | Sample 56_10xDIL | Unknown | 230303\Samples\230303-080.wiff | 10 | ANALYTE NAME | 367000 | 66800 | N/A | 224000 | 42300 |  | 0 | 2040 | N/A | 2040
| 81 | Sample 57_10xDIL | Unknown | 230303\Samples\230303-081.wiff | 10 | ANALYTE NAME | 282000 | 53600 | N/A | 223000 | 40500 |  | 0 | 1570 | N/A | 1570
| 82 | 230302_QCH R4 | Quality Control | 230303\Samples\230303-082.wiff | 1 | ANALYTE NAME | 1380000 | 256000 | 800 | 223000 | 41200 | 1 | 0 | 769 | 96.2
| 83 | 230302_Solvent | Solvent | 230303\Samples\230303-083.wiff | 1 | ANALYTE NAME | 348 | 152 | 0 | 0 | 0 |  | 0 | N/A | N/A

## 2_Exp-230202
*Copy Orignial Sample Name in this column for tracking |  | Sample Name | Sample Type | File Name | Dilution Factor | Analyte Peak Name | Analyte Peak Area (counts) | Analyte Peak Height (cps) | Analyte Concentration (ng/mL) | IS Peak Area (counts) | IS Peak Height (cps) | Use Record | Record Modified | Calculated Concentration (ng/mL) | Accuracy (%) | Data for Report | LLOQ | ULOQ
Sample Name |  | Sample Name | Sample Type | File Name | Dilution Factor | Analyte Peak Name | Analyte Peak Area (counts) | Analyte Peak Height (cps) | Analyte Concentration (ng/mL) | IS Peak Area (counts) | IS Peak Height (cps) | Use Record | Record Modified | Calculated Concentration (ng/mL) | Accuracy (%) |  | 0.2 | 200 | Please copy the raw data from line 2 and manually type the LLOQ and ULOQ concentration. Any numbers below LLOQ or above ULOQ will be highlighted automatically.
Solvent | 1 | Solvent | Solvent | 220113\Samples\220113-001.wiff | 1 | ANALYTE NAME | 59.2 | 29.2 | 0 | 0 | 0 |  | 0 | N/A | N/A
191017_S_Cal 1 | 2 | 220107_Dblank | Double Blank | 220113\Samples\220113-002.wiff | 1 | ANALYTE NAME | 157 | 63.9 | 0 | 0 | 0 |  | 0 | N/A | N/A
191017_S_Cal 2 | 3 | 220107_Blank | Blank | 220113\Samples\220113-003.wiff | 1 | ANALYTE NAME | 97.1 | 58.9 | 0 | 118000 | 27100 |  | 0 | N/A | N/A
191017_S_Cal 3 | 4 | 220107_Cal 1 | Standard | 220113\Samples\220113-004.wiff | 1 | ANALYTE NAME | 1040 | 270 | 0.2 | 136000 | 30000 | 1 | 0 | 0.198 | 99.2
191017_S_Cal 4 | 5 | 220107_Cal 2 | Standard | 220113\Samples\220113-005.wiff | 1 | ANALYTE NAME | 2840 | 664 | 0.5 | 137000 | 30900 | 1 | 0 | 0.534 | 107
191017_S_Cal 5 | 6 | 220107_Cal 3 | Standard | 220113\Samples\220113-006.wiff | 1 | ANALYTE NAME | 4650 | 1120 | 1 | 135000 | 29700 | 1 | 0 | 0.895 | 89.5
191017_S_Cal 6 | 7 | 220107_Cal 4 | Standard | 220113\Samples\220113-007.wiff | 1 | ANALYTE NAME | 28100 | 6060 | 5 | 141000 | 31400 | 1 | 0 | 5.17 | 103
191017_S_Cal 7 | 8 | 220107_Cal 5 | Standard | 220113\Samples\220113-008.wiff | 1 | ANALYTE NAME | 52800 | 12300 | 10 | 137000 | 33100 | 1 | 0 | 9.94 | 99.4
191017_S_Cal 8 | 9 | 220107_Cal 6 | Standard | 220113\Samples\220113-009.wiff | 1 | ANALYTE NAME | 309000 | 67400 | 50 | 162000 | 36700 | 1 | 0 | 49.3 | 98.6
| 10 | 220107_Cal 7 | Standard | 220113\Samples\220113-010.wiff | 1 | ANALYTE NAME | 606000 | 135000 | 100 | 156000 | 37200 | 1 | 0 | 100 | 100
| 11 | 220107_Cal 8 | Standard | 220113\Samples\220113-011.wiff | 1 | ANALYTE NAME | 1240000 | 277000 | 200 | 157000 | 34600 | 1 | 0 | 205 | 102
| 12 | Solvent | Solvent | 220113\Samples\220113-012.wiff | 1 | ANALYTE NAME | 92.6 | 33.7 | 0 | 0 | 0 |  | 0 | N/A | N/A
| 13 | 220107_QCL R1 | Quality Control | 220113\Samples\220113-013.wiff | 1 | ANALYTE NAME | 3330 | 786 | 0.6 | 148000 | 33200 | 1 | 0 | 0.58 | 96.7

## X_Exp-YYMMDD
*Copy Orignial Sample Name in this column for tracking |  | Sample Name | Sample Type | File Name | Dilution Factor | Analyte Peak Name | Analyte Peak Area (counts) | Analyte Peak Height (cps) | Analyte Concentration (ng/mL) | IS Peak Area (counts) | IS Peak Height (cps) | Use Record | Record Modified | Calculated Concentration (ng/mL) | Accuracy (%) | Data for Report | LLOQ | ULOQ
Sample Name |  | Sample Name | Sample Type | File Name | Dilution Factor | Analyte Peak Name | Analyte Peak Area (counts) | Analyte Peak Height (cps) | Analyte Concentration (ng/mL) | IS Peak Area (counts) | IS Peak Height (cps) | Use Record | Record Modified | Calculated Concentration (ng/mL) | Accuracy (%) |  | 5 | 500 | Please copy the raw data from line 2 and manually type the LLOQ and ULOQ concentration. Any numbers below LLOQ or above ULOQ will be highlighted automatically.
Solvent | 1 | Solvent R1 | Solvent | 200818\reDay 1\200818-001.wiff | 1 | ANALYTE NAME | 18.5 | 9.41 | 0 | 0 | 0 |  | 0 | N/A | N/A
191017_S_Cal 1 | 2 | 200817_DBlank | Double Blank | 200818\reDay 1\200818-002.wiff | 1 | ANALYTE NAME | 72.5 | 24.3 | 0 | 0 | 0 |  | 0 | N/A | N/A
191017_S_Cal 2 | 3 | 200817_Blank | Blank | 200818\reDay 1\200818-003.wiff | 1 | ANALYTE NAME | 58.7 | 16.8 | 0 | 15600 | 5750 |  | 0 | N/A | N/A
191017_S_Cal 3 | 4 | 200817_Cal 1 | Standard | 200818\reDay 1\200818-004.wiff | 1 | ANALYTE NAME | 1860 | 711 | 5 | 14600 | 5390 | 1 | 0 | 5 | 100
191017_S_Cal 4 | 5 | 200817_Cal 2 | Standard | 200818\reDay 1\200818-005.wiff | 1 | ANALYTE NAME | 2850 | 1080 | 10 | 16100 | 5920 | 0 | 0 | 9.9 | 99
191017_S_Cal 5 | 6 | 200817_Cal 3 | Standard | 200818\reDay 1\200818-006.wiff | 1 | ANALYTE NAME | 6660 | 2420 | 25 | 16800 | 6310 | 0 | 0 | 24.9 | 99.6
191017_S_Cal 6 | 7 | 200817_Cal 4 | Standard | 200818\reDay 1\200818-007.wiff | 1 | ANALYTE NAME | 15200 | 5630 | 50 | 16100 | 5820 | 1 | 0 | 49.2 | 98.5
191017_S_Cal 7 | 8 | 200817_Cal 5 | Standard | 200818\reDay 1\200818-008.wiff | 1 | ANALYTE NAME | 29700 | 11300 | 100 | 15700 | 5910 | 1 | 0 | 101 | 101
191017_S_Cal 8 | 9 | 200817_Cal 6 | Standard | 200818\reDay 1\200818-009.wiff | 1 | ANALYTE NAME | 73000 | 27300 | 250 | 15500 | 5760 | 1 | 0 | 254 | 102
Solvent | 10 | 200817_Cal 7 | Standard | 200818\reDay 1\200818-010.wiff | 1 | ANALYTE NAME | 113000 | 42400 | 400 | 15400 | 5790 | 1 | 0 | 394 | 98.6
191017_S_QCL R1 | 11 | 200817_Cal 8 | Standard | 200818\reDay 1\200818-011.wiff | 1 | ANALYTE NAME | 151000 | 56800 | 500 | 16300 | 6060 | 1 | 0 | 503 | 101
191017_PA-Low R1 | 12 | Solvent R2 | Solvent | 200818\reDay 1\200818-012.wiff | 1 | ANALYTE NAME | 60.4 | 15.8 | 0 | 0 | 0 |  | 0 | N/A | N/A
191017_PA-Low R2 | 13 | 200817_QCL R1 | Quality Control | 200818\reDay 1\200818-013.wiff | 1 | ANALYTE NAME | 4070 | 1490 | 15 | 16400 | 6040 | 1 | 0 | 14.6 | 97.3333
191017_PA-Low R3 | 14 | Sample1 | Unknown | 200818\reDay 1\200818-014.wiff | 1 | ANALYTE NAME | 44 | 13.1 | N/A | 16700 | 6180 |  | 0 | < 0 | N/A | BQL
191017_S_QCM R1

## Backend
* | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | LOG - Please do not change or delete this. Keeping this in your copy will help identify which version is being used and any known issues. P3-1,2 = patch 3 issues 1, 2
| *_Cal 1* | *_Cal 2* | *_Cal 3* | *_Cal 4* | *_Cal 5* | *_Cal 6* | *_Cal 7* | *_Cal 8* | Patch | Date | Comment | Known Issues - if an issue hasn't been addressed in a later patch, it hasn't been resolved
1 | *_QCL R1* | *_QCL R1* | *_QCM R1* | *_QCM R1* | *_QCH R1* | *_QCH R1* |  |  | 1 | 2022-07-28 | Initial commit
2 | *_QCL R2* | *_QCL R2* | *_QCM R2* | *_QCM R2* | *_QCH R2* | *_QCH R2* |  |  | 2 | 2022-07-29 | Fix calibrator vlookup formulas |  | calibrator concentration logic:
3 | *_QCL R3* | *_QCL R3* | *_QCM R3* | *_QCM R3* | *_QCH R3* | *_QCH R3* |  |  | 3 | 2022-11-18 | 1. Refactor IF formulas for readability and performance improvement 2. Document formula logic 3. Increase support for up to 20 runs 4. Update documentation | 1. Sheets 1 and 2 don't have the "original sample name" column like in sheet X 2. QC concentration labels don't pull properly 3. Average calibrators not working 4. Step 3 of Manual needs update | If the batch # in Project Summary is blank, "Check Batch #"
4 | *_QCL R4* | *_QCL R4* | *_QCM R4* | *_QCM R4* | *_QCH R4* | *_QCH R4* | [6 empty] | Else look up the sheet name of the corresponding run #
1 | *_QCL R1* | *_QCL R1* | *_QCM R1* | *_QCM R1* | *_QCH R1* | *_QCH R1* | [6 empty] | If the calibrator accuracy is not between 85-115, display the concentration (column 13) with a '*'
2 | *_QCL R2* | *_QCL R2* | *_QCM R2* | *_QCM R2* | *_QCH R2* | *_QCH R2* | [6 empty] | Else display the concentration (column 13)
3 | *_QCL R3* | *_QCL R3* | *_QCM R3* | *_QCM R3* | *_QCH R3* | *_QCH R3*
4 | *_QCL R4* | *_QCL R4* | *_QCM R4* | *_QCM R4* | *_QCH R4* | *_QCH R4* |  |  | 4 | 2022-11-21 | 1. Add autofill Batch # in Project Summary 2. Fix P3-1,2,3 3. Remove errors sheet 4. Fix average, std, rsd formulas | 1. Needs new error message sheet | calibrator accuracy logic is the same but displays accuracy (column 14)
1 | *_QCL R1* | *_QCL R1* | *_QCM R1* | *_QCM R1* | *_QCH R1* | *_QCH R1*
2 | *_QCL R2* | *_QCL R2* | *_QCM R2* | *_QCM R2* | *_QCH R2* | *_QCH R2* | [6 empty] | QC logic:
3 | *_QCL R3* | *_QCL R3* | *_QCM R3* | *_QCM R3* | *_QCH R3* | *_QCH R3* | [6 empty] | If passing QCs >= 2/3 of all QCs and passing QCs at each level >= 50% of all QCs at each level, display passing QCs "of" all QCs and "-Pass";
4 | *_QCL R4* | *_QCL R4* | *_QCM R4* | *_QCM R4* | *_QCH R4* | *_QCH R4* |  |  | 5 | 2022-12-02 | 1. Update instructions for calibrator statistics 2. Fix QC Pass/Fail column |  | Else display passing QCs "of" all QCs and "-Fail"
1 | *_QCL R1* | *_QCL R1* | *_QCM R1* | *_QCM R1* | *_QCH R1* | *_QCH R1*
2 | *_QCL R2* | *_QCL R2* | *_QCM R2* | *_QCM R2* | *_QCH R2* | *_QCH R2* |  |  | 6 | 2022-12-30 | 1. Fix minor formula differences in calibrators 2. Add vlookup to LLOQ and ULOQ in data export sheets | 1. QC Run #2 shows "N/A" instead of "Missing Batch #" when empty. Works as expected when populated.
3 | *_QCL R3* | *_QCL R3* | *_QCM R3* | *_QCM R3* | *_QCH R3* | *_QCH R3*
4 | *_QCL R4* | *_QCL R4* | *_QCM R4* | *_QCM R4* | *_QCH R4* | *_QCH R4* |  |  | 7 | 2023-02-06 | 1. Update formatting (headers, page breaks, etc.)
1 | *_QCL R1* | *_QCL R1* | *_QCM R1* | *_QCM R1* | *_QCH R1* | *_QCH R1* |  |  | 8 | 2023-02-15 | 1. Add footers
2 | *_QCL R2* | *_QCL R2* | *_QCM R2* | *_QCM R2* | *_QCH R2* | *_QCH R2* |  |  | 9 | 2023-03-03 | 1. Add To do list --> 2. Generalize and redact identifying information (drug names, project #s, etc) | 1. To do: Change run numbers in cal/qc tab to auto-populate 2. To do: Auto sig figs
3 | *_QCL R3* | *_QCL R3* | *_QCM R3* | *_QCM R3* | *_QCH R3* | *_QCH R3*
4 | *_QCL R4* | *_QCL R4* | *_QCM R4* | *_QCM R4* | *_QCH R4* | *_QCH R4* |  |  | 10 | 2023-03-06 | 1. Fixed QC formulas to account for criteria: 2/3 of all QCs and 1/2 at each level must pass 2. P9-1 3. Pull "Analyte Name" from 1st Export sheet into Project Summary 4. Moved log to backend sheet
1 | *_QCL R1* | *_QCL R1* | *_QCM R1* | *_QCM R1* | *_QCH R1* | *_QCH R1*
2 | *_QCL R2* | *_QCL R2* | *_QCM R2* | *_QCM R2* | *_QCH R2* | *_QCH R2*
3 | *_QCL R3* | *_QCL R3* | *_QCM R3* | *_QCM R3* | *_QCH R3* | *_QCH R3*
4 | *_QCL R4* | *_QCL R4* | *_QCM R4* | *_QCM R4* | *_QCH R4* | *_QCH R4*
1 | *_QCL R1* | *_QCL R1* | *_QCM R1* | *_QCM R1* | *_QCH R1* | *_QCH R1*
2 | *_QCL R2* | *_QCL R2* | *_QCM R2* | *_QCM R2* | *_QCH R2* | *_QCH R2*
3 | *_QCL R3* | *_QCL R3* | *_QCM R3* | *_QCM R3* | *_QCH R3* | *_QCH R3*
4 | *_QCL R4* | *_QCL R4* | *_QCM R4* | *_QCM R4* | *_QCH R4* | *_QCH R4*
1 | *_QCL R1* | *_QCL R1* | *_QCM R1* | *_QCM R1* | *_QCH R1* | *_QCH R1*
2 | *_QCL R2* | *_QCL R2* | *_QCM R2* | *_QCM R2* | *_QCH R2* | *_QCH R2*
3 | *_QCL R3* | *_QCL R3* | *_QCM R3* | *_QCM R3* | *_QCH R3* | *_QCH R3*
4 | *_QCL R4* | *_QCL R4* | *_QCM R4* | *_QCM R4* | *_QCH R4* | *_QCH R4*
1 | *_QCL R1* | *_QCL R1* | *_QCM R1* | *_QCM R1* | *_QCH R1* | *_QCH R1*
2 | *_QCL R2* | *_QCL R2* | *_QCM R2* | *_QCM R2* | *_QCH R2* | *_QCH R2*
3 | *_QCL R3* | *_QCL R3* | *_QCM R3* | *_QCM R3* | *_QCH R3* | *_QCH R3*
4 | *_QCL R4* | *_QCL R4* | *_QCM R4* | *_QCM R4* | *_QCH R4* | *_QCH R4*
1 | *_QCL R1* | *_QCL R1* | *_QCM R1* | *_QCM R1* | *_QCH R1* | *_QCH R1*
2 | *_QCL R2* | *_QCL R2* | *_QCM R2* | *_QCM R2* | *_QCH R2* | *_QCH R2*
3 | *_QCL R3* | *_QCL R3* | *_QCM R3* | *_QCM R3* | *_QCH R3* | *_QCH R3*
4 | *_QCL R4* | *_QCL R4* | *_QCM R4* | *_QCM R4* | *_QCH R4* | *_QCH R4*
1 | *_QCL R1* | *_QCL R1* | *_QCM R1* | *_QCM R1* | *_QCH R1* | *_QCH R1*
2 | *_QCL R2* | *_QCL R2* | *_QCM R2* | *_QCM R2* | *_QCH R2* | *_QCH R2*
3 | *_QCL R3* | *_QCL R3* | *_QCM R3* | *_QCM R3* | *_QCH R3* | *_QCH R3*
4 | *_QCL R4* | *_QCL R4* | *_QCM R4* | *_QCM R4* | *_QCH R4* | *_QCH R4*
1 | *_QCL R1* | *_QCL R1* | *_QCM R1* | *_QCM R1* | *_QCH R1* | *_QCH R1*
2 | *_QCL R2* | *_QCL R2* | *_QCM R2* | *_QCM R2* | *_QCH R2* | *_QCH R2*
3 | *_QCL R3* | *_QCL R3* | *_QCM R3* | *_QCM R3* | *_QCH R3* | *_QCH R3*
4 | *_QCL R4* | *_QCL R4* | *_QCM R4* | *_QCM R4* | *_QCH R4* | *_QCH R4*
1 | *_QCL R1* | *_QCL R1* | *_QCM R1* | *_QCM R1* | *_QCH R1* | *_QCH R1*
2 | *_QCL R2* | *_QCL R2* | *_QCM R2* | *_QCM R2* | *_QCH R2* | *_QCH R2*
3 | *_QCL R3* | *_QCL R3* | *_QCM R3* | *_QCM R3* | *_QCH R3* | *_QCH R3*
4 | *_QCL R4* | *_QCL R4* | *_QCM R4* | *_QCM R4* | *_QCH R4* | *_QCH R4*
1 | *_QCL R1* | *_QCL R1* | *_QCM R1* | *_QCM R1* | *_QCH R1* | *_QCH R1*
2 | *_QCL R2* | *_QCL R2* | *_QCM R2* | *_QCM R2* | *_QCH R2* | *_QCH R2*
3 | *_QCL R3* | *_QCL R3* | *_QCM R3* | *_QCM R3* | *_QCH R3* | *_QCH R3*
4 | *_QCL R4* | *_QCL R4* | *_QCM R4* | *_QCM R4* | *_QCH R4* | *_QCH R4*
1 | *_QCL R1* | *_QCL R1* | *_QCM R1* | *_QCM R1* | *_QCH R1* | *_QCH R1*
2 | *_QCL R2* | *_QCL R2* | *_QCM R2* | *_QCM R2* | *_QCH R2* | *_QCH R2*
3 | *_QCL R3* | *_QCL R3* | *_QCM R3* | *_QCM R3* | *_QCH R3* | *_QCH R3*
4 | *_QCL R4* | *_QCL R4* | *_QCM R4* | *_QCM R4* | *_QCH R4* | *_QCH R4*
1 | *_QCL R1* | *_QCL R1* | *_QCM R1* | *_QCM R1* | *_QCH R1* | *_QCH R1*
2 | *_QCL R2* | *_QCL R2* | *_QCM R2* | *_QCM R2* | *_QCH R2* | *_QCH R2*
3 | *_QCL R3* | *_QCL R3* | *_QCM R3* | *_QCM R3* | *_QCH R3* | *_QCH R3*
4 | *_QCL R4* | *_QCL R4* | *_QCM R4* | *_QCM R4* | *_QCH R4* | *_QCH R4*
1 | *_QCL R1* | *_QCL R1* | *_QCM R1* | *_QCM R1* | *_QCH R1* | *_QCH R1*
2 | *_QCL R2* | *_QCL R2* | *_QCM R2* | *_QCM R2* | *_QCH R2* | *_QCH R2*
3 | *_QCL R3* | *_QCL R3* | *_QCM R3* | *_QCM R3* | *_QCH R3* | *_QCH R3*
4 | *_QCL R4* | *_QCL R4* | *_QCM R4* | *_QCM R4* | *_QCH R4* | *_QCH R4*
1 | *_QCL R1* | *_QCL R1* | *_QCM R1* | *_QCM R1* | *_QCH R1* | *_QCH R1*
2 | *_QCL R2* | *_QCL R2* | *_QCM R2* | *_QCM R2* | *_QCH R2* | *_QCH R2*
3 | *_QCL R3* | *_QCL R3* | *_QCM R3* | *_QCM R3* | *_QCH R3* | *_QCH R3*
4 | *_QCL R4* | *_QCL R4* | *_QCM R4* | *_QCM R4* | *_QCH R4* | *_QCH R4*